Requirements Specification



Version: 0.02

February 10, 2002
Document ID:  OpenEEG-Software-REQ_SPEC
Group Name: OpenEEG
Editor: 


John Morrison (OpenEEG@ahc.net.au)
Group Members:
name
student number
John Morrison
OpenEEG@ahc.net.au
Moritz v. Buttlar
moritzvb@users.sf.net


Rob Sacks 
editor@realization.org

Approved: 

Date:

Table of Contents

iiVersion History


11.0  Introduction


22.0  Environment Characteristics


22.1 Hardware / Support Software


22.2 Peripherals


22.3 Users


33.0  Conceptual Model


44.0  Life-Cycle Considerations


44.1 Core System


44.2 Standard System


44.3 Extended System


44.4 Fundamental Assumptions


44.5 Potential Changes


44.6 Gantt Chart


55.0  Functional Requirements


55.1 Functional Summary


55.2 Screen Layouts


55.3 Example of Usage


55.4 System Error Handling


66.0  Data / Database Requirements


77.0  Non-Functional Requirements


88.0  Glossary


99.0  Summary


1010.0 Acknowledgments




Version History

	Issue
	Date
	Change

	0.01
	11/02/02
	Creation

	0.02
	13/02/02
	Some small additions here and there


1.0 Introduction

The software described in this specification will act as a skeleton for plug in modules designed and written for man machine interfacing (eg EEG, ECG, etc) written by various authors. The specification will set down rigorous interfaces to use between these modules to remove incompatibilities and allow for mixing or modules built by any author. This means that modules can be designed and used that weren’t even thought of at design time of this software.

This platform will be designed so that it doesn’t require recompiling to incorporate new or updated modules. The platform itself should require very little updating after it is stabilised. The main application for the system is real-time biofeedback of biological signals, especially Neuro feedback. Great flexibility is achieved by the mixture of different modules and their interconnections, which is controlled by a configuration file. This is also referred to as a protocol.

Summarise system and requirements

· What needs does it satisfy?

· What does it do?

· Who will use it?

2.0 Environment Characteristics

2.1 Hardware / Support Software

The software will be as platform independent as possible and be able to run on Linux or Windows platforms. This should be achieved by writing code that can be cross-compiled for both platforms. The use of embedded systems as a host is also possible. 

SYMBOL 183 \f "Symbol" \s 10 \h
itemised minimal configuration

SYMBOL 183 \f "Symbol" \s 10 \h
itemised optimal configuration

2.2 Peripherals

The software will interface with any biological signal measurement hardware currently available. This is achieved by the addition of hardware specific interface modules for each device. 

2.3 Users

The initial audience will be the users on the “buildcheapeeg” e-mail group and users of the hardware being designed there. The wider audience is everyone that has an EEG, ECG or any physical monitoring devices.

3.0 Conceptual Model

An abstract model aiding the user in understanding the system.  Usually a high level diagram like a DFD or Use Case.

4.0 Life-Cycle Considerations

Define goals for given time frame: ensure each feature is clearly, but briefly, described.

4.1 Core System

The core system will read a plain text “configuration” file (Hand written) that describes the connections necessary between modules to achieve the users requirements.  The core system will be restricted to a text display (Though modules may have higher requirements.).

The interfaces will be fully developed and available for authors wishing to build modules for the system.

A configuration file could describe a simple system for EEG display, consisting of a “hardware module” connected to a “filter/smoothing module” then on to a “display module”.  Or it could be as complex as the user pleases adding a recording module, bi-audio feedback module synced to the users brain waves and anything else that the user wants to add.

List of features that make up the core of the system.  This should be a working core or minimal version of the system.  All other features will be added incrementally to this core.

4.2 Standard System

The standard system will include the addition of a GUI interface to display the modules, as they are loaded.  Standard recording and playback modules will be added to standardise the format of recorded data and to aid users to swap data and experiment.

List of features to be added to the core system to make up the system planned for final delivery.

4.3 Extended System

A separate GUI design platform will be created to help in the creation of the configuration files.


List of foreseeable future extensions to standard system.

4.4 Fundamental Assumption

The input data from all biomedical measurement devices will consist of time-series of real numbers. Differences between signals are mainly in timescales. These timescales reach from 1 Hz for slow-changing signals like temperature or skin resistance to 2 kHz for EMG measurements. 


eg. Which features are definitely excluded, what does the above depend on?

4.5 Potential Changes

Not extensions to the system.  What features listed above may be changed due to later discoveries.

4.6 Gantt Chart


Outline proposed timetable for the major milestones for the project.

5.0 Functional Requirements


Precisely describes services provided by the standard system from the users viewpoint.

5.1 Functional Summary

Describe in a consistent and detailed manner how to use each function of the system.

Heading
(state of interaction eg. “Mark Selected Section of Text.”)

Description
(brief, often one sentence)

Input
(from the user’s perspective)

Output
(from the user’s perspective)

Error handling
(if all handled uniformly, describe this in section 5.4)

5.2 Screen Layouts

The screen layouts will be determined at a later stage. The first step is to get the core system running.


Major ones only, with formal definition of fields

5.3 Example of Usage

An example of typical usage.  Ensure this is precise!  This will become the Tutorial part of the Users’ Manual.  eg. Show snap shots of the screen with brief comments:

5.4 System Error Handling

6.0 Data / Database Requirements


Using a simple diagrammatic notation like NIAM or ER.

7.0 Non-Functional Requirements


(itemised only)

8.0 Glossary

9.0 Summary

10.0 Acknowledgments

�PAGE \# "'Page: '#'�'"  ��Precisely defines properties and constraints which the software product must satisfy (WHAT is going to be done not HOW).  Generally for a non-technical audience.


�PAGE \# "'Page: '#'�'"  ��Reference: Sommerville: part 2 (chapters 4 to 7) and Pressman: part 2


�PAGE \# "'Page: '#'�'"  ��Limit: 22 pages (excluding title page, table of contents, and version history).


�PAGE \# "'Page: '#'�'"  ��This section is not needed for this project.





PAGE  

